## hs-eff
|  | DK | IT
| TJ/kWh_t or ton/kWh_t | EU | Italy
2011 | Other fossil heating system | 0.0001788 | 0.00018823
2011 | Solid biomass heating system | 0.00034225 | 0.0015443
2011 | Heavy fuel oil heating system | 0.00011596 | 0.00014853
2011 | Methane heating system | 8.8026e-05 | 0.00011422
2011 | Electric heating system | 3.7113e-06 | 4e-06
2011 | District heating network | 3.7895e-06 | 5.1429e-06
2011 | Heat pump system | 1.44e-06 | 1.4843e-06
2011 | Solar thermal system | 3.6e-06 | 3.6e-06
2020 | Other fossil heating system | 0.00017901 | 0.00017888
2020 | Solid biomass heating system | 0.00046753 | 0.0011968
2020 | Heavy fuel oil heating system | 0.00011653 | 0.00014359
2020 | Methane heating system | 8.7915e-05 | 0.00011138
2020 | Electric heating system | 3.7113e-06 | 3.9748e-06
2020 | District heating network | 3.7895e-06 | 5.04e-06
2020 | Heat pump system | 1.2857e-06 | 1.4021e-06
2020 | Solar thermal system | 3.6e-06 | 3.6e-06
2025 | Other fossil heating system | 0.0001767 | 0.00016514
2025 | Solid biomass heating system | 0.00041558 | 0.00083388
2025 | Heavy fuel oil heating system | 0.00011653 | 0.00013952
2025 | Methane heating system | 8.7915e-05 | 0.0001093
2025 | Electric heating system | 3.7113e-06 | 3.9498e-06
2025 | District heating network | 3.7895e-06 | 4.9412e-06
2025 | Heat pump system | 1.1613e-06 | 1.2832e-06
2025 | Solar thermal system | 3.6e-06 | 3.6e-06
2030 | Other fossil heating system | 0.00016393 | 0.00015338
2030 | Solid biomass heating system | 0.00037403 | 0.00063922
2030 | Heavy fuel oil heating system | 0.00011653 | 0.00013579
2030 | Methane heating system | 8.7915e-05 | 0.00010729
2030 | Electric heating system | 3.7113e-06 | 3.9252e-06
2030 | District heating network | 3.7895e-06 | 4.8462e-06
2030 | Heat pump system | 1.0588e-06 | 1.1828e-06
2030 | Solar thermal system | 3.6e-06 | 3.6e-06
2035 | Other fossil heating system | 0.00013874 | 0.00014311
2035 | Solid biomass heating system | 0.00034002 | 0.00051998
2035 | Heavy fuel oil heating system | 0.00011653 | 0.00013232
2035 | Methane heating system | 8.7915e-05 | 0.00010537
2035 | Electric heating system | 3.7113e-06 | 3.9009e-06
2035 | District heating network | 3.7895e-06 | 4.7547e-06
2035 | Heat pump system | 9.7297e-07 | 1.0967e-06
2035 | Solar thermal system | 3.6e-06 | 3.6e-06
2040 | Other fossil heating system | 0.00012026 | 0.00013409
2040 | Solid biomass heating system | 0.00031169 | 0.00043886
2040 | Heavy fuel oil heating system | 0.00011653 | 0.00012907
2040 | Methane heating system | 8.7915e-05 | 0.00010352
2040 | Electric heating system | 3.7113e-06 | 3.8769e-06
2040 | District heating network | 3.7895e-06 | 4.6667e-06
2040 | Heat pump system | 9e-07 | 1.0222e-06
2040 | Solar thermal system | 3.6e-06 | 3.6e-06

## hs-emi
|  |  | DK | IT
|  | kg/kWh_t or kg/kWh_t | EU | Italy
Carbon dioxide, fossil | 2011 | Other fossil heating system | 0.00077188 | 0.00081258
Carbon dioxide, fossil | 2011 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2011 | Heavy fuel oil heating system | 0.00033917 | 0.00043445
Carbon dioxide, fossil | 2011 | Methane heating system | 0.00021126 | 0.00027412
Carbon dioxide, fossil | 2011 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2011 | District heating network | 0 | 0
Carbon dioxide, fossil | 2011 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2011 | Solar thermal system | 0 | 0
Carbon dioxide, fossil | 2020 | Other fossil heating system | 0.0007728 | 0.00077223
Carbon dioxide, fossil | 2020 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2020 | Heavy fuel oil heating system | 0.00034085 | 0.00041999
Carbon dioxide, fossil | 2020 | Methane heating system | 0.000211 | 0.00026732
Carbon dioxide, fossil | 2020 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2020 | District heating network | 0 | 0
Carbon dioxide, fossil | 2020 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2020 | Solar thermal system | 0 | 0
Carbon dioxide, fossil | 2025 | Other fossil heating system | 0.0007628 | 0.00071289
Carbon dioxide, fossil | 2025 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2025 | Heavy fuel oil heating system | 0.00034085 | 0.00040809
Carbon dioxide, fossil | 2025 | Methane heating system | 0.000211 | 0.00026233
Carbon dioxide, fossil | 2025 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2025 | District heating network | 0 | 0
Carbon dioxide, fossil | 2025 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2025 | Solar thermal system | 0 | 0
Carbon dioxide, fossil | 2030 | Other fossil heating system | 0.0007077 | 0.00066213
Carbon dioxide, fossil | 2030 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2030 | Heavy fuel oil heating system | 0.00034085 | 0.00039718
Carbon dioxide, fossil | 2030 | Methane heating system | 0.000211 | 0.0002575
Carbon dioxide, fossil | 2030 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2030 | District heating network | 0 | 0
Carbon dioxide, fossil | 2030 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2030 | Solar thermal system | 0 | 0
Carbon dioxide, fossil | 2035 | Other fossil heating system | 0.00059894 | 0.00061779
Carbon dioxide, fossil | 2035 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2035 | Heavy fuel oil heating system | 0.00034085 | 0.00038705
Carbon dioxide, fossil | 2035 | Methane heating system | 0.000211 | 0.00025289
Carbon dioxide, fossil | 2035 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2035 | District heating network | 0 | 0
Carbon dioxide, fossil | 2035 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2035 | Solar thermal system | 0 | 0
Carbon dioxide, fossil | 2040 | Other fossil heating system | 0.00051914 | 0.00057888
Carbon dioxide, fossil | 2040 | Solid biomass heating system | 0 | 0
Carbon dioxide, fossil | 2040 | Heavy fuel oil heating system | 0.00034085 | 0.00037754
Carbon dioxide, fossil | 2040 | Methane heating system | 0.000211 | 0.00024845
Carbon dioxide, fossil | 2040 | Electric heating system | 0 | 0
Carbon dioxide, fossil | 2040 | District heating network | 0 | 0
Carbon dioxide, fossil | 2040 | Heat pump system | 0 | 0
Carbon dioxide, fossil | 2040 | Solar thermal system | 0 | 0

## Negawatt
Indicator | Energy | Use | Unit | Comment | Source (history) | Source (prospective) | Country | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Performance of domestic heating systems using solid fossil fuels (coal...) | Other fossil heating system | DK | % |  | SnW 2022 | CLEVER | Denmark | 46.65% | 46.64% | 46.63% | 46.62% | 46.61% | 46.61% | 46.6% | 46.6% | 46.59% | 46.59% | 46.58% | 47.19% | 50.87% | 60.11% | 69.35% | 73.02% | 73.64%
Performance of domestic heating systems using solid biomass | Solid biomass heating system | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 67.56% | 68.3% | 68.3% | 68.51% | 68.88% | 50% | 50% | 50% | 50% | 50% | 50% | 56.25% | 62.5% | 68.75% | 75% | 75% | 75%
Performance of domestic oil-fired heating systems | Heavy fuel oil heating system | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 79.67% | 79.61% | 79.54% | 79.51% | 79.33% | 79.34% | 79.32% | 79.27% | 79.21% | 79.21% | 79.21% | 79.21% | 79.21% | 79.21% | 79.21% | 79.21% | 79.21%
Performance of domestic heating systems using gas grid / gas consumed locally | Methane heating system | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 84.86% | 85.2% | 85.44% | 85.33% | 85.17% | 85.21% | 85.16% | 85.38% | 85.31% | 85.31% | 85.31% | 85.31% | 85.31% | 85.31% | 85.31% | 85.31% | 85.31%
Performance of domestic electric heating systems | Electric heating system | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97% | 97%
Performance of domestic heating systems using heating network | District heating network | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Performance of domestic heating systems using ambient heat (heat pumps…) | Heat pump system | DK | % |  | Danish Energy Agency | CLEVER | Denmark | 250% | 250% | 250% | 250% | 250% | 250% | 250% | 250% | 250% | 250% | 280% | 310% | 340% | 370% | 400% | 400% | 400%
Performance of domestic heating systems using thermal solar space heating | Solar thermal system | DK | % |  |  |  | Denmark | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Performance of domestic cooling systems | Cooling | DK | % |  | SnW 2022 | CLEVER | Denmark | 232.1% | 236.8% | 241.5% | 246.2% | 250.9% | 255.6% | 260.3% | 265% | 269.7% | 274.4% | 279.1% | 302.6% | 326.1% | 349.5% | 373% | 396.5% | 420%
Performance of domestic heating systems using solid fossil fuels (coal...) | Other fossil heating system | FR | % |  | SnW 2022 | CLEVER | France | 46.65% | 46.64% | 46.63% | 46.62% | 46.61% | 46.61% | 46.6% | 46.6% | 46.59% | 46.59% | 46.58% | 47.19% | 50.87% | 60.11% | 69.35% | 73.02% | 73.64%
Performance of domestic heating systems using solid biomass | Solid biomass heating system | FR | % |  | SnW 2022 | CLEVER | France | 18.46% | 17.9% | 17.37% | 16.86% | 16.38% | 15.91% | 15.46% | 15.03% | 15.05% | 15.06% | 15.07% | 16.44% | 24.76% | 45.67% | 66.58% | 74.91% | 76.3%
Performance of domestic oil-fired heating systems | Heavy fuel oil heating system | FR | % |  | SnW 2022 | CLEVER | France | 63.83% | 64.36% | 64.9% | 65.43% | 65.96% | 66.49% | 67.01% | 67.54% | 67.57% | 67.6% | 67.63% | 68.04% | 69.85% | 74.25% | 78.61% | 80.34% | 80.62%
Performance of domestic heating systems using gas grid / gas consumed locally | Methane heating system | FR | % |  | SnW 2022 | CLEVER | France | 69.93% | 70.46% | 70.98% | 71.5% | 72.01% | 72.51% | 73.01% | 73.5% | 73.5% | 73.5% | 73.5% | 73.72% | 75.05% | 78.4% | 81.76% | 83.1% | 83.33%
Performance of domestic electric heating systems | Electric heating system | FR | % |  | SnW 2022 | CLEVER | France | 133.8% | 133.9% | 134% | 134.1% | 134.2% | 134.3% | 134.3% | 134.4% | 134.5% | 134.6% | 134.6% | 133.9% | 129.2% | 117% | 104.8% | 99.92% | 99.1%
Performance of domestic heating systems using heating network | District heating network | FR | % |  | SnW 2022 | CLEVER | France | 67.87% | 67.87% | 67.87% | 67.88% | 67.88% | 67.88% | 67.84% | 67.83% | 67.79% | 67.75% | 67.72% | 68.09% | 71.04% | 78.66% | 86.33% | 89.41% | 89.93%
Performance of domestic heating systems using ambient heat (heat pumps…) | Heat pump system | FR | % |  | SnW 2022 | CLEVER | France | 242.6% | 242.6% | 242.6% | 242.6% | 242.6% | 242.6% | 242.6% | 242.6% | 242.5% | 242.5% | 242.5% | 246% | 267.4% | 321.2% | 375% | 396.4% | 400%
Performance of domestic heating systems using thermal solar space heating | Solar thermal system | FR | % |  |  |  | France | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Performance of domestic cooling systems | Cooling | FR | % |  | SnW 2022 | CLEVER | France | 232.1% | 236.8% | 241.5% | 246.2% | 250.9% | 255.6% | 260.3% | 265% | 269.7% | 274.4% | 279.1% | 302.6% | 326.1% | 349.5% | 373% | 396.5% | 420%
Performance of domestic heating systems using solid fossil fuels (coal...) | Other fossil heating system | DE | % |  | UBA | CLEVER | Germany |  | 73% |  |  |  | 73% |  |  |  | 73% | 73% | 73% | 73% | 73% | 73% | 73% | 73%
Performance of domestic heating systems using solid biomass | Solid biomass heating system | DE | % |  | UBA | CLEVER | Germany |  | 70% |  |  |  | 70% |  |  |  | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
Performance of domestic oil-fired heating systems | Heavy fuel oil heating system | DE | % |  | UBA | CLEVER | Germany |  | 83% |  |  |  | 83% |  |  |  | 83% | 83% | 83% | 83% | 83% | 83% | 83% | 83%
Performance of domestic heating systems using gas grid / gas consumed locally | Methane heating system | DE | % |  | UBA | CLEVER | Germany |  | 89% |  |  |  | 89% |  |  |  | 89% | 89% | 89% | 89% | 89% | 89% | 89% | 89%
Performance of domestic electric heating systems | Electric heating system | DE | % |  | UBA | CLEVER | Germany |  | 98% |  |  |  | 98% |  |  |  | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98%
Performance of domestic heating systems using heating network | District heating network | DE | % |  | SnW 2022 | CLEVER | Germany | 67.87% | 67.87% | 67.87% | 67.88% | 67.88% | 67.88% | 67.84% | 67.83% | 67.79% | 67.75% | 67.72% | 68.09% | 71.04% | 78.66% | 86.33% | 89.41% | 89.93%
Performance of domestic heating systems using ambient heat (heat pumps…) | Heat pump system | DE | % |  | Energinet | CLEVER | Germany |  | 370% |  |  |  | 370% |  |  |  | 360% | 360% | 370% | 380% | 380% | 380% | 380% | 390%
Performance of domestic heating systems using thermal solar space heating | Solar thermal system | DE | % |  |  |  | Germany | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Performance of domestic cooling systems | Cooling | DE | % | No detail on performance | SnW 2022 | CLEVER | Germany | 232.1% | 236.8% | 241.5% | 246.2% | 250.9% | 255.6% | 260.3% | 265% | 269.7% | 274.4% | 279.1% | 302.6% | 326.1% | 349.5% | 373% | 396.5% | 420%
Performance of domestic heating systems using solid fossil fuels (coal...) | Other fossil heating system | IT | % |  | CLEVER | CLEVER | Italy |  | 44.3% |  |  |  | 44.3% | 44.3% | 44.29% | 45.07% | 45.84% | 46.62% | 50.5% | 54.37% | 58.27% | 62.19% | 66.1% | 70%
Performance of domestic heating systems using solid biomass | Solid biomass heating system | IT | % |  | CLEVER | CLEVER | Italy |  | 15.14% |  |  |  | 15.14% | 14.77% | 14.42% | 16.12% | 17.83% | 19.53% | 28.03% | 36.57% | 44.96% | 53.27% | 61.62% | 70%
Performance of domestic oil-fired heating systems | Heavy fuel oil heating system | IT | % |  | CLEVER | CLEVER | Italy |  | 62.15% |  |  |  | 62.15% | 62.63% | 63.13% | 63.52% | 63.9% | 64.29% | 66.16% | 67.98% | 69.76% | 71.52% | 73.26% | 75%
Performance of domestic heating systems using gas grid / gas consumed locally | Methane heating system | IT | % |  | CLEVER | CLEVER | Italy |  | 65.66% |  |  |  | 65.66% | 66.11% | 66.56% | 66.82% | 67.08% | 67.33% | 68.62% | 69.9% | 71.18% | 72.45% | 73.72% | 75%
Performance of domestic electric heating systems | Electric heating system | IT | % |  | CLEVER | CLEVER | Italy |  | 90% |  |  |  | 90% | 90.11% | 90.23% | 90.34% | 90.46% | 90.57% | 91.14% | 91.71% | 92.29% | 92.86% | 93.43% | 94%
Performance of domestic heating systems using heating network | District heating network | IT | % |  | CLEVER | CLEVER | Italy |  | 70% |  |  |  | 70% | 70.29% | 70.57% | 70.86% | 71.14% | 71.43% | 72.86% | 74.29% | 75.71% | 77.14% | 78.57% | 80%
Performance of domestic heating systems using ambient heat (heat pumps…) | Heat pump system | IT | % |  | CLEVER | CLEVER | Italy |  | 242.5% |  |  |  | 242.5% | 242.5% | 242.5% | 247.3% | 252% | 256.8% | 280.6% | 304.4% | 328.3% | 352.2% | 376.1% | 400%
Performance of domestic heating systems using thermal solar space heating | Solar thermal system | IT | % |  |  |  | Italy | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Performance of domestic cooling systems | Cooling | IT | % |  | CLEVER | CLEVER | Italy |  | 230% |  |  |  | 230% | 230% | 232.1% | 234.1% | 236.2% | 238.2% | 248.5% | 258.8% | 269.1% | 279.4% | 289.7% | 300%
Performance of domestic heating systems using solid fossil fuels (coal...) | Other fossil heating system | LV | % |  | CLEVER | CLEVER | Latvia |  | 44.3% |  |  |  | 44.3% |  |  |  | 48.59% | 48.59% | 52.87% | 57.15% | 61.43% | 65.72% | 70% | 70%
Performance of domestic heating systems using solid biomass | Solid biomass heating system | LV | % |  | CLEVER | CLEVER | Latvia |  | 40% |  |  |  | 40% |  |  |  | 45% | 45% | 50% | 55% | 60% | 65% | 70% | 70%
Performance of domestic oil-fired heating systems | Heavy fuel oil heating system | LV | % |  | CLEVER | CLEVER | Latvia |  | 62.15% |  |  |  | 62.15% |  |  |  | 64.29% | 64.29% | 66.43% | 68.57% | 70.72% | 72.86% | 75% | 75%
Performance of domestic heating systems using gas grid / gas consumed locally | Methane heating system | LV | % |  | CLEVER | CLEVER | Latvia |  | 65.66% |  |  |  | 65.66% |  |  |  | 67.22% | 67.22% | 68.78% | 70.33% | 71.89% | 73.44% | 75% | 75%
Performance of domestic electric heating systems | Electric heating system | LV | % |  | CLEVER | CLEVER | Latvia |  | 90% |  |  |  | 90% |  |  |  | 90.67% | 90.67% | 91.33% | 92% | 92.67% | 93.33% | 94% | 94%
Performance of domestic heating systems using heating network | District heating network | LV | % |  | CLEVER | CLEVER | Latvia |  | 70% |  |  |  | 70% |  |  |  | 71.67% | 71.67% | 73.33% | 75% | 76.67% | 78.33% | 80% | 80%
Performance of domestic heating systems using ambient heat (heat pumps…) | Heat pump system | LV | % |  | CLEVER | CLEVER | Latvia |  | 201.8% |  |  |  | 201.8% |  |  |  | 213.6% | 213.6% | 243.4% | 273.2% | 303% | 332.8% | 332.8% | 332.8%
Performance of domestic heating systems using thermal solar space heating | Solar thermal system | LV | % |  |  |  | Latvia | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Performance of domestic cooling systems | Cooling | LV | % |  | CLEVER | CLEVER | Latvia |  | 230% |  |  |  | 230% | 230% | 230% | 230% | 230% | 241.7% | 253.3% | 265% | 276.7% | 288.3% | 300% | 300%